## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Superintending Engineer(Electrical),IIIM Jammu
Name of Work: electrical work in RRL School at IIIM Jammu
Contract No:
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular type switch, phenolic laminated sheet, suitable size G.I. box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc as required. | 11 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | Group C | 12 | 55 | point | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Wiring in existing conduit: Supply and drawing following sizes of FR LS PVC insulated copper conductor, single core cable in existing surface/ recessed steel/ PVC conduit as requried | 13 | [52 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | 2 x 1.5 sq.mm | 14 | 50 | mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.2 | 2 x 2.5 sq.mm | 15 | 35 | mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.3 | 2 x 4.0 sq.mm | 16 | 85 | mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.4 | 2 x 6.0 sq.mm | 17 | 55 | mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.5 | 2 x 10.0 sq.mm | 18 | 35 | mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.6 | 1 x 1.0 sqmm ( Earth Wire) | 19 | 250 | mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. | 20
3.1 | 20 mm (2mm thick) | 21 | 70 | mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.2 | 25 mm (2mm thick) | 22 | 55 | mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
3.3 | 40 mm (2mm thick) | 23 | 30 | mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4 | Supplying and fixing following sizes of Mdules with Modular base and Cover plate etc as required. | 24
4.1 | 1 or 2 Module ( 75 x 75 MM ) | 25 | 6 | nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.2 | 4 Module ( 125 mm x 75 mm) | 26 | 6 | nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
4.5 | 6 Module ( 200 mm x 75 mm ) | 27 | 6 | nos | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5 | Supplying and fixing following Modular type switch/ socket on the existing Switch box/ cover including connections etc. as required. | 28
5.1 | 5/6 amps switch | 29 | 10 | nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5.2 | 15/16 amps switch | 30 | 6 | nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5.3 | 3 pin 5/6 amps socket outlet | 31 | 10 | nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5.4 | 6 pin15/16 amps socket outlet | 32 | 6 | nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Supplying and fixing 3 pin, 5 amp ceiling rose on the existing junction box/ wooden block including connection etc as required. | 33 | 40 | nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Supplying and drawing of UTP 4 pair CAT 6 LAN Cable Singlr runin theexisting surface/ recessed steel/ PVC conduit as required. | 34 | 40 | mtrs | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Supplying and fixing following way, single pole and neutral, sheetsteel, MCB distribution board, 240 volts, on surface/ recess,complete with tinned copper bus bar, neutral bus bar, earth bar,din bar, interconnections, powder painted including earthing etc.as required. (But without MCB/RCCB/Isolator) | 35 | [52 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.1 | 12 way Double door | 36 | 1 | nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.2 | 8 way double door | 37 | 1 | nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Supplying and fixing following way, single pole and neutral, sheetsteel, MCB distribution board, 240 volts, on surface/ recess,complete with tinned copper bus bar, neutral bus bar, earth bar,din bar, interconnections, powder painted including earthing etc.as required. (But without MCB/RCCB/Isolator) | 38
9.1 | 8 way (4 + 24), Double door | 39 | 1 | each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, “C”curve, miniature circuit breaker suitable for inductive load offollowing poles in the existing MCB DB complete with connections,testing and commissioning etc. as required. | 40
10.1 | Single pole | 41 | 25 | each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.2 | Single pole and neutral | 42 | 8 | each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.3 | Double pole | 43 | 2 | each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.4 | Triple pole | 44 | 2 | each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10.5 | Triple pole and neutral | 45 | 2 | each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
11 | 3.5x50 sq.mm Aluminium Armoured PVC/XLPE Power Cable | 46 | 50 | mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
12 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thickincluding accessories, and providing masonry enclosure with coverplate having locking arrangement and watering pipe of 2.7 metrelong etc. with charcoal/ coke and salt as required. | 47 | 1 | set | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
13 | Supplying and laying 25 mm X 5 mm copper strip at 0.50 metrebelow ground as strip earth electrode, including connection/terminating with nut, bolt, spring, washer etc. as required. (Jointingshall be done by overlapping and with 2 sets of brass nut bolt &spring washer spaced at 50mm) | 48 | 20 | mtr. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
14 | MCB box cover (metal) | 49 | 4 | each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
15 | MCB 40 A DP | 50 | 4 | each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
16 | MCCB 63 Amps | 51 | 2 | each | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information