## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Director IIIM Jammu
Name of Work:Replacement of old low tension Distribution panels at IIIM Jammu with complete SITC of new LT panels with safety features at IIIM Jammu
Contract No:
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1.01 | Supplying, installation, commissioning and testing of 400 amps outdoor LT panel with 16 SWG MS Sheet. The panel should be dust free with proper rubber gaskets. The panel should be floor mounted with BUS Bar chamber, Earthing point, interconnections with Copper wiring. The panel should be coated with 2 coats of enamel paint( Grey Shade) with designation of incoming and outgoing feeder as per detail below: A. Incoming MCCB 400 amps 4 pole, 50 KA ( 1 no), outgoing 250 amps MCCB 4 pole, 25 K ( 1 no)& 125 Amps MCCB,25KA (2Nos.) with indicators with AE make Ammeters and Voltmers.The job includes complete end termination. Make of MCCBS should be L&T/Siemens only | BI01010001010000000000000515BI0100001113 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | Supplying, installation, commissioning and testing of 300 amps outdoor LT panel with 16 SWG MS Sheet. The panel should be dust free with proper rubber gaskets. The panel should be floor mounted with BUS Bar chamber, Earthing point, interconnections with Copper wiring. The panel should be coated with 2 coats of enamel paint( Grey Shade) with designation of incoming and outgoing feeder as per detail below: A. Incoming MCCB 250 amps 4 pole, 25 KA ( 1 no), outgoing 125 amps MCCB 4 pole, 25 K ( 2no) with indicators with AE make Ammeters and Voltmers.The job includes complete end termination. Make of MCCBS should be L&T/Siemens only | BI01010001010000000000000515BI0100001114 | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | Supplying, installation, commissioning and testing of 300 amps outdoor LT panel with 16 SWG MS Sheet. The panel should be dust free with proper rubber gaskets. The panel should be floor mounted with BUS Bar chamber, Earthing point, interconnections with Copper wiring. The panel should be coated with 2 coats of enamel paint( Grey Shade) with designation of incoming and outgoing feeder as per detail below: A. Incoming MCCB 250 amps 4 pole, 25 KA ( 1 no), outgoing 125 amps MCCB 4 pole, 25 K ( 2no) & 63 amps MCCB,4pole 10KA(1 no) with indicators with AE make Ammeters and Voltmers.The job includes complete end termination. Make of MCCBS should be L&T/Siemens only | BI01010001010000000000000515BI0100001115 | 1 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.04 | Dismentling of old existing LT panels and transporting them to the electrical workshop at IIIM | BI01010001010000000000000515BI0100001116 | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information