## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Director IIIM Jammu
Name of Work: Repair and Renovation of 08 nos. of B-Type staff quarters (B-48 to B-55) at IIIM Colony Jammu. (Electrical Work)
Contract No:
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with piano type switch, phenolic laminated sheet, suitable size G.I. box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Group C |  | 116 | point |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Wiring in existing conduit: Supply and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in existing surface/ recessed steel/ PVC conduit as requried Make- Havells/Anchor/ABB/Shalimar/Polycab | [53 empty] | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.1 | 2 x 1.5 sq.mm |  | 100 | mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.2 | 2 x 2.5 sq.mm |  | 300 | mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
2.3 | 2 x 4.0 sq.mm |  | 250 | mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.4 | 2 x 6.0 sq.mm |  | 120 | mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Supplying and fixing 3 pin, 5 amp ceiling rose on the existing junction box/ wooden block including connection etc as required.Make- Havells/Anchor |  | 32 | nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.Make- Havells/Anchor | [53 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
4.1 | 20 mm (2mm thick) |  | 150 | mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.2 | 25 mm (2mm thick) |  | 200 | mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Supplying and fixing metal box of following sizes (nominal size) on surface or in recesess with suitable size of phenolic laminated sheet cover in front including painting etc. as required.Make-Anchor/Equivalent as required
5.1 | ( 75mm x 75mm x 60 mm deep ) |  | 10 | nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5.2 | ( 100 mm x100 mm x 60 mm deep ) |  | 80 | nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5.3 | ( 150 mm x 75 mmx 60 mm deep) |  | 4 | nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
5.4 | ( 200 mm x125 mm x 60 mm deep) |  | 18 | nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
6 | Supplying and fixing following piano type switch/ socket on the existing Switch box/ cover including connections etc. as required.Make- Havells/Anchor
6.1 | 5/6 amps switch |  | 80 | nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
6.2 | 15/16 amps switch |  | 64 | nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
6.3 | 3 pin 5/6 amps socket outlet |  | 80 | nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
6.4 | 6 pin15/16 amps socket outlet |  | 64 | nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
7 | Supplying and fixing following way, single pole and neutral, sheetsteel, MCB distribution board, 240 volts, on surface/ recess,complete with tinned copper bus bar, neutral bus bar, earth bar,din bar, interconnections, powder painted including earthing etc.as required. (But without MCB/RCCB/Isolator) Make- Havells/legrand/L&T/INDO
7.1 | 12 way Double door |  | 8 | nos. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
8 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, “C”curve, miniature circuit breaker suitable for inductive load offollowing poles in the existing MCB DB complete with connections,testing and commissioning etc. as required.Make- Havells/legrand/L&T/INDO
8.1 | Single pole |  | 62 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
8.2 | Single pole and neutral |  | 10 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
8.3 | Double pole |  | 4 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
9 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thickincluding accessories, and providing masonry enclosure with coverplate having locking arrangement and watering pipe of 2.7 metrelong etc. with charcoal/ coke and salt as required. |  | 2 | Nos |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
10 | Supplying and laying 25 mm X 5 mm copper strip at 0.50 metrebelow ground as strip earth electrode, including connection/terminating with nut, bolt, spring, washer etc. as required. (Jointingshall be done by overlapping and with 2 sets of brass nut bolt &spring washer spaced at 50mm) |  | 22 | mtr. |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
11 | Supplying and fixing of Exhaust Fans 12 inches(metal) with Louvers. Make/Havells/Crompton/Khaitan |  | 8 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
12 | Supplying and fixing of Exhaust Fans 10 inches(PVC) with Louvers. Make/Havells/Crompton/Khaitan |  | 8 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
13 | Supplying and fixing of 40 amps MCB. Make- Havells/Anchor/L&T |  | 10 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
14 | Supply and fixing of Ceiling Fan 48 inch ,5 star energy rating, (Ivory/Brown colour). BLDC Make-Havells/ Crompton/Khaitan |  | 16 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
15 | Supplying, installation, commissioning and testing of 100 amps outdoor BUS BAR with 16 SWG MS Sheet and copper strips with control of 100 Amp MCCB incommer and outcomers 63 amps (2 no). The panel should be dust free with proper rubber gaskets. The panel should be floor mounted with BUS Bar chamber, Earthing point, interconnections with Copper wiring. The panel should be coated with 2 coats of enamel paint( Grey Shade) with designation of incoming and outgoing feeder as per detail below: A. Incoming MCCB 100 amps 4 pole, 25 K ( 1 no), outgoing 63 amps MCCB 4 pole, 25 K ( 2 nos), with indicators with AE make Ammeters and Voltmers with end terminations. Make of MCCBS should be L&T/Siemens only |  | 2 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
16 | Electric Bell buzzor. Make-Anchor/Havells/Panasonic/Philips |  | 8 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only
17 | Supply and fixing 4 feet LED light 20 Watts. Make Havells/Anchor/Wipro |  | 72 | each |  |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | INR Zero Only | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only

## Macros
Please Enable Macros to View BoQ information